## Cover
Tender Bid Submission
Technical & Financial Bid
RfP No. TENDER/EPC/2026-27/1BC3
BIDDER
AuraVolt EPC Solutions Pvt. Ltd.
CIN U40100RJ2013PTC041287 · GSTIN 08AAJCA9876H1ZK · PAN AAJCA9876H
Plot No. 22, Industrial Area Phase-III, Sitapura, Jaipur - 302 022, Rajasthan, India
+91-141-4071200 · tenders@auravolt.in · www.auravolt.in
SUBMISSION DETAILS
SUBMITTED TO | The Concerned Tender Authority | DATE OF SUBMISSION | 01 May 2026
SUBMITTED BY | AuraVolt EPC Solutions Pvt. Ltd. | BID REFERENCE | AVE/TENDER/2026/315A
AUTHORISED SIGNATORY | Mr. Arvind Mehta · Director (Technical) | DSC USED | Class-III DSC ¦ Token No. SIFY-2026-1BC-89D9
EMD / BID SECURITY | INR 18,75,000/- ¦ BG No. SBI/JPR/BG/2026/1BC38 | TENDER FEE REF. | NEFT Ref. SBIN261BC389 ¦ INR 11,800/- (incl. GST)
BID VALIDITY | 180 days from Financial Bid opening (i.e., up to 28 October 2026) | TYPE OF BID | Two-Envelope: Technical Bid + Financial Bid
Subject: Submission of Technical and Financial Bid for RfP No. TENDER/EPC/2026-27/1BC3

## Financial Bid
Envelope 2
Financial Bid
Price Schedule / Bill of Quantities · RfP No. TENDER/EPC/2026-27/1BC3 · Bid Ref. AVE/TENDER/2026/315A · 01 May 2026
# | Description | Specifications | Brand / Make | Qty | Unit | Rate (INR) | Total (INR)
1 | Solar PV Modules | Minimum 540 Wp per module, monocrystalline PERC or TOPCon, ≥21% efficiency, MNRE ALMM List-I, BIS IS 14286, 12-year product warranty, 25-year performance guarantee ≥80% rated power. | Waaree | 371 | nos | 16200 | 6010200
2 | Grid-Tied Inverters | 3-phase 415V ±10%, ≥98% CEC weighted efficiency, IEC 62109-1/2 compliant, anti-islanding, FRT capability, DC arc-fault protection, MNRE type-test approved, PGVCL interconnection approved, 5-year on-site warranty. | Growatt | 1 | lot | 54550 | 54550
3 | Module Mounting Structure | Hot-dip galvanized mild steel IS 2062 Grade B, ≥85 micron zinc coating, fixed tilt optimized for Rajkot latitude, withstands 180 km/h wind per IS 875 Part-3, SS 304 hardware, licensed structural engineer certificate required. | Schletter India / Kseng Solar | 1 | lot | 1950 | 1950
4 | Lightning Protection System | IS/IEC 62305 compliant, ESE type or conventional Franklin rod per risk analysis, complete bonding of all metallic structures to main earth bus. | Indelec / Aplicaciones Tecnologicas | 1 | lot | 32500 | 32500
Subtotal (Basic Value) | [6 empty] | 6099200
GST @ 18% | [6 empty] | 1097856
Grand Total (incl. all taxes & GST) | [6 empty] | 7197056
Amount in words Seventy One Lakh Ninety Seven Thousand Fifty Six Rupees Only
NOTES
1 | The quoted rates are firm and fixed for the entire contract period. No price escalation, variation, or additional claim of any nature shall be raised after award of contract.
2 | The above rates are inclusive of all applicable taxes, duties, levies, and GST as on the date of bid. Any future change in GST rate shall be dealt with as per Government of India notification.
3 | The rates are inclusive of design, engineering, supply, installation, testing, commissioning, freight, insurance, and statutory charges as applicable to the scope of work.
4 | This Financial Bid is valid for 180 days from Financial Bid opening (i.e., up to 28 October 2026).
5 | Any conditional bid or bid with deviations is liable for rejection at the sole discretion of the Tender Authority.
SIGNATURE |  |  |  |  | COMPANY SEAL
Mr. Arvind Mehta |  |  |  |  | [OFFICIAL SEAL]
Director (Technical) · AuraVolt EPC Solutions Pvt. Ltd.
DIN 07412659 · 01 May 2026 · Jaipur, Rajasthan

## Bid Summary
Tender Bid
Bid Summary
BIDDER | AuraVolt EPC Solutions Pvt. Ltd.
RFP NO. | TENDER/EPC/2026-27/1BC3
BID REFERENCE | AVE/TENDER/2026/315A
SUBMISSION DATE | 01 May 2026
NO. OF LINE ITEMS | 4
SUBTOTAL (BASIC VALUE) | ₹ 60,99,200.00
GST @ 18% | ₹ 10,97,856.00
GRAND TOTAL | ₹ 71,97,056.00
AMOUNT IN WORDS | Seventy One Lakh Ninety Seven Thousand Fifty Six Rupees Only
BID VALIDITY | 180 days from Financial Bid opening (i.e., up to 28 October 2026)
EMD / BID SECURITY | INR 18,75,000/- ¦ BG No. SBI/JPR/BG/2026/1BC38
TENDER FEE | NEFT Ref. SBIN261BC389 ¦ INR 11,800/- (incl. GST)